## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Noida Metro Rail Corporation (NMRC) Limited
Name of Work: Supply of Various Spare Parts for PSI Department
Contract No: NMRC/DCOS/PSI/383R1/403/2025
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Price (Exclusive GST) Per unit In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [25 empty] | COMPONENT | MAKE | TYPE/Model No. for reference | RATING | GST % | Total Amount (Exclusive GST) by Bidder for required Quantity (In Figures) Rs. P | TOTAL AMOUNT (Inclusive GST) by Bidder for required Quantity (In Figures) Rs. P | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | INPUT CONTACTOR | BI01010001010000000000000515BI0100001113 | 10 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | MNX25CS94110 (L&T) | AC3 DUTY 25A, 3P, 415V AC COIL |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | ADD ON AUX CONTACT | BI01010001010000000000000515BI0100001114 | 15 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | MNXA2 (L&T) | 110VDC ADD ON BLOCK 1NO+ 1NC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | DVR CONTACTOR | BI01010001010000000000000515BI0100001115 | 10 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | LC1D18FD (SCHNEIDER) | AC1 DUTY 32A, 3P, 110V DC COIL 1NO+ 1NC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Auxiliary Contactor, Air break, in open execution | BI01010001010000000000000515BI0100001116 | 15 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 3RH2122-1AP00 (SIEMENS) | 2NO+2NC, 240V AC, 50/60 Hz, 4 POLE |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | Auxiliary Contactor | BI01010001010000000000000515BI0100001117 | 35 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 3RH21401BF (SIEMENS) | 4NO 110V DC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Auxiliary Contactor | BI01010001010000000000000515BI0100001118 | 10 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 3RH2122BF40 (SIEMENS) | 2NO+2NC, ADD ON 1NC, 110V DC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Auxiliary Contactor, Air break, in open execution | BI01010001010000000000000515BI0100001119 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 3TH30 22-0B | 2NO+2NC, ADD ON BLOCK 1NO, 110V DC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | Auxiliary Contactor with surge SUPPRESSOR | BI01010001010000000000000515BI0100001120 | 40 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 3RT2916-1EH00 (SIEMENS) | 12-250V DC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Auxiliary Contactor with surge varistors | BI01010001010000000000000515BI0100001121 | 15 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 3RT2916-1BD00 (SIEMENS) | 127-240 V AC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | OPEN/CLOSE CONTACTOR | BI01010001010000000000000515BI0100001122 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | TX4DC2FD/TP1DC09 (C&S) | 110V DC, 12A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | DC SUPPLY SUPVN AUX CONTACTOR | BI01010001010000000000000515BI0100001123 | 20 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent |  | AUX CONTACTOR WITH 4 NO +4NC CONTACTS-10A DC RATED-COIL VOLTAGE 110 V DC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | AUX CONTACTOR | BI01010001010000000000000515BI0100001124 | 2 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 3RH2431-1BF40 (SIEMENS) | 110V DC, 3NO+1NC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | DC CONTACTOR | BI01010001010000000000000515BI0100001125 | 2 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent |  | 110V DC Auxiliary Contactors/ Relays 8NO+8NC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | DC CONTACTOR | BI01010001010000000000000515BI0100001126 | 10 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | LC1-DO9-U7 (SCHNEIDER) | 9A, 110VDC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | DC CONTACTOR | BI01010001010000000000000515BI0100001127 | 4 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | LC1-D09-BD (SCHNEIDER) | 9A, 415 AC, 24V DC COIL |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16 | AUX CONTACTOR | BI01010001010000000000000515BI0100001128 | 8 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | LC1D09-F7 (SCHNEIDER) | 9A, 415V AC, 220V AC COIL |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17 | DC CONTACTOR | BI01010001010000000000000515BI0100001129 | 4 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | LC1-D09-FD (SCHNEIDER) | 9A, 415V AC, 110V DC COIL |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18 | AUX CONTACTOR | BI01010001010000000000000515BI0100001130 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 3TF4702-OAPO (SIEMENS) | 63A, 230V AC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19 | Aux. CONTACTOR | BI01010001010000000000000515BI0100001131 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | Case size 14N HORIZ. | 110V DC, 3NO+2NC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
20 | ADD ON CONTACT BLOCK | BI01010001010000000000000515BI0100001132 | 2 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 3RH2122-1BF40 (SIEMENS) | 2NO+2NC 110 VDC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
21 | ADD ON CONTACT BLOCK | BI01010001010000000000000515BI0100001133 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 3RH2140-1BF40 (SIEMENS) | 4NO 110V DC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22 | ADD ON CONTACT BLOCK | BI01010001010000000000000515BI0100001134 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 3RH2131-1BF40 (SIEMENS) | 3 NO+ 1 NC, 110 VDC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
23 | AUXILIARY CONTACTOR | BI01010001010000000000000515BI0100001135 | 10 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent |  | 2 NO+ 2NC 230 VAC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
24 | AUXILIARY CONTACTOR | BI01010001010000000000000515BI0100001136 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent |  | 3NO+1NC 230V AC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
25 | FCBC'S I/P CONTACTOR | BI01010001010000000000000515BI0100001137 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | LCIE40N5 (SCHNEIDER) | AC3 DUTY 40A 3 POLE 400-415V AC COIL AUX 1NO + 1NC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
26 | DVR CONTACTOR | BI01010001010000000000000515BI0100001138 | 10 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | CA 5-01 (ABB) | ACCESSORIES AUXILIARY CONTACT BLOCK 1NC ABB |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
27 | DVR CONTACTOR | BI01010001010000000000000515BI0100001139 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | AF52-30-00-13 (ABB) | AC1 DUTY 100A 3 POLE 100-250V AC/DC COIL |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
28 | BCH I/P CONTACTORS | BI01010001010000000000000515BI0100001140 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | VM5-1 (ABB) | ACCESSORIES MECHANICAL &ELECTRICAL INTERLOCK WITH 2NC CONTACT SUITABLE FOR CONTACTORS (Aux contactor) |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
29 | BCH I/P CONTACTORS | BI01010001010000000000000515BI0100001141 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | A26-40-00-86 (ABB) | AC3 DUTY 26A 4 POLE 4 NO MAIN CONTACT 400,.415V AC COIL |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
30 | CONTACTOR | BI01010001010000000000000515BI0100001142 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | AF80-30-00-13 (ABB) | AC3 DUTY 80A 3 POLE 100V-250V AC/DC COIL |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
31 | CONTACTOR | BI01010001010000000000000515BI0100001143 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | CA 310 (ABB) | ACCESSORIES AUXILIARY CONTACT BLOCK 1NO |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
32 | CONTACTOR | BI01010001010000000000000515BI0100001144 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | CAL 19 (ABB) | ACCESSORIES AUXILIARY CONTACT BLOCK 1NO+1NC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
33 | DCDB INCOMER CONTACTOR | BI01010001010000000000000515BI0100001145 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CONTACTOR | C&S/Schnieder/L&T/Siemens/ABB or equivalent | AF116-30-11-13 (ABB) | CONTACT BLOCK 1NO + 1NC AC3 DUTY 116A 3 POLE 100-250V AC/DC COIL AUX 1NO+1NC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
34 | WINDING TEMPERATURE INDICATOR | BI01010001010000000000000515BI0100001146 | 2 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | INDICATOR | PERFECT CONTROL/ PRECIMEASURE or equivalent | PC171, for large power transformer,self powered operation,liquid in metal expansion type,IP55 weaather proof ventilated case,switch and circuit testing facility provided from outside case,micro switch to be better vibration resistance,micro switches have 15A,250V ac rating, for higher dc rating, a magnetic blow out (MBO) microswitch can be used which has rating of 3A,250ac/dc,all circuits to earth tested at 2500V,50 HZ for 1 minute. | 3A,240AC/DC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
35 | OIL TEMPERATURE INDICATOR | BI01010001010000000000000515BI0100001147 | 2 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | INDICATOR | PERFECT CONTROL/ PRECIMEASURE or equivalent | PC171, for large power transformer,self powered operation,liquid in metal expansion type,IP55 weaather proof ventilated case,switch and circuit testing facility provided from outside case,micro switch to be better vibration resistance,micro switches have 15A,250V ac rating, for higher dc rating, a magnetic blow out (MBO) microswitch can be used which has rating of 3A,250ac/dc,all circuits to earth tested at 2500V,50 HZ for 1 minute. | 3A,240AC/DC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
36 | WINDING TEMPERATURE INDICATOR | BI01010001010000000000000515BI0100001148 | 2 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | INDICATOR | PRECIMEASURE or equivalent | 1007H Fully sealed liquid expansion system provides self-powered indication and operation and does not require any trimming or other periodic adjustments. Instruments are fully compensated for ambient temperature.WTIs have a built in Thermal imaging system to simulate transformer’s hot spot indication.WTIs are provided with gradient adjustment through a shunt for CT secondary input current.Optional embedded PT-100 sensor in the sensing bulb of the local OTI / WTI provide for a master indication at control room and Scada compatibilityInstrument cases are aluminum die casted and polyester powder coated with standard ingress protection of IP55 and Corrosion protection up to 500 Hours of neutral salt spray.Maximum pointer facility is provided and can be reset from outside.All switch contacts are potential free micro switches. | 3A,240AC/DCWITH INBUILT RTD |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
37 | OIL TEMPERATURE INDICATOR | BI01010001010000000000000515BI0100001149 | 2 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | INDICATOR | PRECIMEASURE or equivalent | 1007H Fully sealed liquid expansion system provides self-powered indication and operation and does not require any trimming or other periodic adjustments.Instruments are fully compensated for ambient temperature.WTIs have a built in Thermal imaging system to simulate transformer’s hot spot indication.WTIs are provided with gradient adjustment through a shunt for CT secondary input current.Optional embedded PT-100 sensor in the sensing bulb of the local OTI / WTI provide for a master indication at control room and Scada compatibilityInstrument cases are aluminum die casted and polyester powder coated with standard ingress protection of IP55 and Corrosion protection up to 500 Hours of neutral salt spray.Maximum pointer facility is provided and can be reset from outside.All switch contacts are potential free micro switches | 3A,240AC/DCWITH INBUILT RTD |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
38 | REMOTE WTI/OTI | BI01010001010000000000000515BI0100001150 | 2 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | INDICATOR | PRECIMEASURE(AT)/EMCO(TT) OR EQUIVALENT | 2245H-T2 PRECI (AT) EE610 (TT) EE602( TT) | CUTOUT 92*92mm, TYPE-2,4*4-20mAO/P,110V DC 95/260AC/DC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
39 | FOR WDG TEMP,OIL TEMP | BI01010001010000000000000515BI0100001151 | 2 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | TRANSMITTER | ASHECONTROL/ PRESTON or equivalent | TX-212,Temp isolating repeater is compact reliable high performance instrument used in processs control application to buffer and isolate a temperature sensor signal for dual port indication ,feedback ,control or data logging. The instrument accepts a RTD Pt -100 9three wire) sensor input signal provides two DC current outputs of 0 to 10 ma DC. | 90-260VAC/DC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
40 | FOR TAP POSITION | BI01010001010000000000000515BI0100001152 | 2 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | TRANSMITTER | ASHECONTROL/PRESTON or equivalent | TX-242, DIMENSION 100*22*110 MM, OPTICAL AND GALVANIC , two isolated outputs of 4 to 20 ma Dc. | 90-260VAC/DC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
41 | WINDING TEMPERATURE | BI01010001010000000000000515BI0100001153 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | RTD | PERFECT CONTROL OR EQUIVALENT | SIMPLEXPT100, Class A Accuracy,termination lead wire type, glass fibre,-55to 250 degree c | 0-150DEGC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
42 | FIRE ALARM | BI01010001010000000000000515BI0100001154 | 2 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | SENSOR | CTR or equivalent | FS4032A300 | 240VAC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
43 | MPCB | BI01010001010000000000000515BI0100001155 | 2 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MPCB | SCHNIEDER / SIMENS OR EQUIVALENT |  | 1A-1.6A,415VAC .3sec to 30min, 1.3A,220VAC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
44 | TIME DELAY RELAY | BI01010001010000000000000515BI0100001156 | 2 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | TIME DELAY RELAY | EAPL OR EQUIVALENT | EAA1D,XC60 2P 16A | .3 SEC TO 30 MIN,1.3 A,220V AC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
45 | RTCC SUPPLY | BI01010001010000000000000515BI0100001157 | 2 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | TIME DELAY RELAY | SCHNIEDER OR EQUIVALENT | IEC 60947-2 | 16A, 220VAC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
46 | INDICATION SUPPLY | BI01010001010000000000000515BI0100001158 | 2 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | CIRCUIT, BREAKER | SCHNIEDER OR EQUIVALENT | XC60H2P4AC | 2P WITH AUX. CONTACT, 4A 110V DC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
47 | OUT OF STEP | BI01010001010000000000000515BI0100001159 | 2 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | BUZZER | BHARANI/ALAN OR EQUIVALENT | Upto four different types of tonesUniversal operatig voltage from 40V to 300V DC OR AC High Volume output compared to conventional buzzersOptimal use of space due to mult-tone nature | 220V AC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
48 | TRIP CIRCUIT SUPERVISION | BI01010001010000000000000515BI0100001160 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | RELAY | SIEMENS | 7PJ13Universal auxiliary voltage range with very low burden (i.e.) 24 V to 230 V AC/DC at less than 4 watts Universal supervision voltage range (i.e.) 24 V to 230 V DC Compact-in-size 48x96 mm Fitted with flush-mounting Continuous supervision of trip circuit in Pre-closed, Postclosed condition, and latched trip condition Detects faults such as Auxiliary voltage loss and circuit breakage in supervised circuits Indicates operational status by single LED with dual color Relay has been type tested in accordance with IEC60255 standards | 132KV, 50/60 Hz |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
49 | TRAFO FAULT RELAY | BI01010001010000000000000515BI0100001161 | 2 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | RELAY | ALSTOM | AUXILIARY RELAY- VAA | VX1 (Volt): 110/125 V DC (Lower nominal voltage/ Higher nominal voltage) |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
50 | DCDB Earth fault relay | BI01010001010000000000000515BI0100001162 | 4 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | RELAY | ALSTOM or equivalent | CAEM 21AF101A,, FLASH MOUNTED, 110V DC battery earth fault relay | 100-125 V DC, 2C/O output contact |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
51 | TRANSFORMER PROTECTION RELAY | BI01010001010000000000000515BI0100001163 | 2 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | RELAY | PECON or equivalent | AC/DC,4-20mA Inputs : 4 numbers of RTD sensors (Pt-100, IEC-60751). Number of Set-points : Three (High, V.High & Cooling Fan On). Temperature indication range : -50 to 300 °C. Set point range : 1 to 300 °C. Accuracy : 1 °C. Dead Band (relay differential) : User settable ( Range : 1 - 25 °C) Display Speed : User settable ( Range : 1 - 60 secs). Display : 3 Seven Segment 1/2" displays for displaying Temperature. 1 Seven Segment 1/2" displays for displaying channel number. Supply Voltage : 90 - 270 VAC/DC. Outputs : Four relay contacts (one C/O contact for – Fault, Fan, High & V.High), One analog 4-20mA output in TR-7570 (corresponding to 0 to 200 °C, max. load 300 ohms, linearity 0.5% w.r.t. local indication). Contact Racting : 5A @ 230VAC & 0.3A @ 220VDC. Relay operations : Fault : Will energize after few seconds of power-on and de-energinze on detecting fault condition. Fault relay will remain on in normal conditions. Fan : Will energize if any channel's temperature exceeds fan set point . High : Will energize if any channel's temperature exceeds High set point. V.High : Will energize if any channel's temperature exceeds V.High set point. Contact Racting : 5A @ 230VAC & 0.3A @ 220VDC. Relay operations : Fault : Will energize after few seconds of power-on and de-energinze on detecting fault condition. Fault relay will remain on in normal conditions. Fan : Will energize if any channel's temperature exceeds fan set point . High : Will energize if any Terminals : Combicon screwed caged, suitable for 2.5 mm2 solid conductors. Insulation : Insulation resistance shall be 100 Mohm or more when 500 VDC is applied between each terminal shorted together and earth. Controller will withstand 2 kV rms at 50/60 Hz. for 1 min. applied between all relays & supply terminals shorted together & earth. Power consumption : Max. 15VAchannel's temperature exceeds High set point. V.High : Will energize if any channel's temperature exceeds V.High set point. TR-7576-C (PECON) | Aux supply 85-270VAC/DC (40-400Hz), 4-20mA |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
52 | MTR,86 | BI01010001010000000000000515BI0100001164 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | RELAY | ALSTOM or equivalent | MASTER TRIP RELAY WITH MECHANICAL LATCHING & HIGH SPEED OPERATION Flash mounted Aux. voltage: 110V DC, Aux. contact: 3NO+2NC, Case size: 1/4N Horiz | 110VDC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
53 | RELAY | BI01010001010000000000000515BI0100001165 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | RELAY | SCHNEIDER or equivalent | NUMERICAL 3PHASE OVERCURRENT & EARTH RELAY WITH MEASUREMENT CT SECONDARY-/5Amp SITE SELECTABLE AUX. SUPPLY 110VDC P111L (SCHNEIDER) | Flash mounted CTR-/5A Aux 110V DC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
54 | AUXILIARY RELAY | BI01010001010000000000000515BI0100001166 | 10 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | RELAY | C&S/Schnieder/L&T/Siemens/ABB or equivalent |  | 4C/O-230V AC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
55 | AUX RELAY | BI01010001010000000000000515BI0100001167 | 15 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | RELAY | C&S/Schnieder/L&T/Siemens/ABB or equivalent | M4-2N-GS (OMRON) | 2C/O 230 V AC, 5A 250AC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
56 | 8 STEP APFC RELAY WITH RS-485 PORT | BI01010001010000000000000515BI0100001168 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | RELAY | C&S/Schnieder/L&T/Siemens/ABB or equivalent | EPCOS | 230V AC AUX.SUPPLY |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
57 | LED indication lamp (22.5mm) (IEC/IS 60947-5-1) | BI01010001010000000000000515BI0100001169 | 50 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | LED LAMP | ESBEE/ SIEMENS/ TEKNIC or equivalent |  | 22.5 mm clusterled 110V DC YELLOW |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
58 | LED indication lamp (22.5mm) (IEC/IS 60947-5-1) | BI01010001010000000000000515BI0100001170 | 50 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | LED LAMP | ESBEE/ SIEMENS/ TEKNIC or equivalent |  | 22.5 mm clusterled 220V AC RED |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
59 | LED indication lamp (22.5mm) (IEC/IS 60947-5-1) | BI01010001010000000000000515BI0100001171 | 50 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | LED LAMP | ESBEE/ SIEMENS/ TEKNIC or equivalent |  | 22.5 mm clusterled 220V AC GREEN |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
60 | LED indication lamp (22.5mm) (IEC/IS 60947-5-1) | BI01010001010000000000000515BI0100001172 | 50 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | LED LAMP | ESBEE/ SIEMENS/ TEKNIC or equivalent |  | 22.5 mm clusterled 220V AC YELLOW |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
61 | LED indication lamp (22.5mm) (IEC/IS 60947-5-1) | BI01010001010000000000000515BI0100001173 | 30 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | LED LAMP | ESBEE/ SIEMENS/ TEKNIC or equivalent |  | 22.5 mm clusterled 220V AC BLUE |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
62 | LED indication lamp (22.5mm) (IEC/IS 60947-5-1) | BI01010001010000000000000515BI0100001174 | 50 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | LED LAMP | ESBEE/ SIEMENS/ TEKNIC or equivalent | 3585285-6HC04 (SIEMENS) | 22.5 mm clusterled 110V DC RED |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
63 | LED indication lamp (22.5mm) (IEC/IS 60947-5-1) | BI01010001010000000000000515BI0100001175 | 50 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | LED LAMP | ESBEE/ SIEMENS/ TEKNIC or equivalent | 3585285-6HC04 (SIEMENS) | 22.5 mm clusterled 110V DC GREEN |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
64 | LED indication lamp (22.5mm) (IEC/IS 60947-5-1) | BI01010001010000000000000515BI0100001176 | 20 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | LED LAMP | ESBEE/ SIEMENS/ TEKNIC or equivalent | 3SBS235-6HG14 (SIEMENS) | 2.5W, 42-240AC/DC, white LED |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
65 | LED indication lamp (22.5mm) (IEC/IS 60947-5-1) | BI01010001010000000000000515BI0100001177 | 20 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | LED LAMP | ESBEE/ SIEMENS/ TEKNIC or equivalent | 3SBS235-6HG14 (SIEMENS) | 2.5W, 42-240AC/DC, AMBER |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
66 | LED indication lamp (10mm) | BI01010001010000000000000515BI0100001178 | 20 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | LED LAMP | KWALITY or equivalent |  | 10 MM LED RED |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
67 | 25 MM RING | BI01010001010000000000000515BI0100001179 | 50 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | Lug |  | RingType | 25 MM Ring Type Lug |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
68 | Door Limit Switch | BI01010001010000000000000515BI0100001180 | 20 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | SWITCH |  | 3SE3020-0A | 1NO+1NC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
69 | 2.5sqmm | BI01010001010000000000000515BI0100001181 | 100 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | lug |  | Pintype |  |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
70 | OPEN/CLOSE INTERLOCK RELEASE EMERGENCY STOP P.B | BI01010001010000000000000515BI0100001182 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | Push button | (SUN)JOY/SURAJ/TEKNIC or equivalent | S1 (TEKNIC) 22.5 mm dia | NO |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
71 | RELEASE EMERGENCY STOP P.B | BI01010001010000000000000515BI0100001183 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | Push button | (SUN)JOY/SURAJ/TEKNIC or equivalent | S2 (TEKNIC) 22.5 mm dia | NC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
72 | Push Button with spring return | BI01010001010000000000000515BI0100001184 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | Push button | ESBEE (L&T) or equivalent | EGO8OO2C EGO8OO1C EGO8OO2C | 22.5 mm Dia , 230V, 6A RED, 1NC BLACK, 1NO GREEN, 2NO |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
73 | PUSH BUTTON ACTUATOR RED MUSHROOM HEAD NON ILLUMINATED | BI01010001010000000000000515BI0100001185 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | Push button | ESBEE or equivalent | 22.5MM PUSH BUTTON ACTUATOR RED MUSHROOM HEAD NON ILLUMINATED WITH 1NO CONTACT | 1NO (TEKNIC) (RED) |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
74 | FOR ALARM CANCELLATION | BI01010001010000000000000515BI0100001186 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | Push button | SCHNIEDER or equivalent | XB5-AA21N | 1NO+1NC BLACK |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
75 | RAISE/LOWER COMMAND/LAMP TEST Push button | BI01010001010000000000000515BI0100001187 | 4 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | Push button | SCHNIEDER or equivalent | XB5-AA31N | 240V AC, 2A, 220V DC, 0.7A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
76 | OVERLOAD RELAY | BI01010001010000000000000515BI0100001188 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | OVERLOAD RELAY | HPL/C&S or equivalent or equivalent | TR2-D09307 (C&S) | 1.6A-2.5A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
77 | C/O RELAY | BI01010001010000000000000515BI0100001189 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | C/O RELAY | PLA/OEN/SALZER OR EQUIVALENT |  | 3NO+3NC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
78 | BRIDGE RECTIFIER | BI01010001010000000000000515BI0100001190 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | BRIDGE RECTIFIER | MIC or equivalent |  | 25A,240VAC/110VDC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
79 | COUNTER | BI01010001010000000000000515BI0100001191 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | Counter | SELEC/GIC or equivalent | CR-26, 110V DC, 4W, IMPULSE COUNTER, CAT NO ND41A-385 (GIC) | DIGITAL LED COUNTER 110DC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
80 | SMPS | BI01010001010000000000000515BI0100001192 | 10 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | Counter | OMRON or equivalent | 230VAC/24VDC | 9A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
81 | MECHNICAL INTERLOCK (3 LOCK+2 KEY) | BI01010001010000000000000515BI0100001193 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MECH | SCHNEIDER or equivalent | MECH |  |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
82 | I/P Voltmeter | BI01010001010000000000000515BI0100001194 | 15 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | VOLTMETER | Meco or equivalent | SMP9635S (Meco) | 0-750VAC DPM 96sqmm ,1%acc aux 85-265VAC/DC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
83 | O/P Voltmeter | BI01010001010000000000000515BI0100001195 | 15 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | VOLTMETER | Meco or equivalent | SMP9635S (Meco) | 0-1000VDC DPM 96sqmm, 1%acc aux 85-265VAC/DC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
84 | Digital Voltmeter with builtin selector switch | BI01010001010000000000000515BI0100001196 | 10 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | VOLTMETER | AE or equivalent | VSS960 (AE) Flush mounting size 96x96 sqmm | 3phase, 4wire, HT system range0-36kV AC PTR 33KV/110V INPUT 0-120V AC, AUX SUPPLY 240V AC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
85 | DC VOLTMETER | BI01010001010000000000000515BI0100001197 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | VOLTMETER | RISHAB or equivalent | ANALOG CODE NO.-PQ91- V1AL1N1CAW000 (RISHAB) | 0-150VDC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
86 | DIGITAL VOLTMETER WITH INBUILT SELECTER SWITCH | BI01010001010000000000000515BI0100001198 | 10 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | VOLTMETER | SCHNIEDER or EQUIVALENT | DM3201 (SCHNIEDER) | 3 PHASE, 4 WIRE , CL-0.5, 415 VAC, AUX SUPPLY 230VAC, I/p- 0-500V AC switch |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
87 | DIGITAL VOLTMETER WITH INBUILT SELECTER SWITCH | BI01010001010000000000000515BI0100001199 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | VOLTMETER | SCHNIEDER or EQUIVALENT | DM3210 CONZERVE 96 Sq.mm (SCHNIEDER) | 0-500V, 415VAC AUX. SUPPLY 230VAC (3.5 DIGIT) |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
88 | ANOLOG VOLTMETER | BI01010001010000000000000515BI0100001200 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | VOLTMETER | RISHAB or equivalent | ANALOG SERIAL NO S17F 001011 (RISHAB) | 0-150V |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
89 | O/P Ammeter | BI01010001010000000000000515BI0100001201 | 15 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | AMETER | MECO or equivalent | SMP9635SRS (MECO) | 0.100-600A DC(SH Operated) DPM 265 V AC/DC, 96sqmm 1%ACC aux. 85-265V,AC/DC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
90 | Battery Ammeter | BI01010001010000000000000515BI0100001202 | 15 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | AMETER | MECO or equivalent | SMP9635SRS (MECO) | 1600-0-1600A,DC (SH Operated) DPM, 96sqmm 1%ACC aux. 85- 265V AC/DC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
91 | Digital Ameter with builtin selector switch size 96x96sqmm | BI01010001010000000000000515BI0100001203 | 10 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | AMETER | AE OR equivalent | ASS96D Flush mounting (AE) | 240VAC, 3phase, 3wire, range0-200A CTR 800-400-200/1A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
92 | 3ø, AMMETER WITH INBUILT SELECTOR SWITCH. | BI01010001010000000000000515BI0100001204 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | AMETER | SCHNEIDER OR equivalent | DM3110 (SCHNEIDER) | DIGITAL,96Sqmm.CTR- /5A ACCURACY CL-O.5, AUX.230VAC CTR-250/5A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
93 | DC Voltage monitoring RELAY | BI01010001010000000000000515BI0100001205 | 45 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | VMR/Relay | TEKNIKA or equivalent | BASE MOUNTED | AUX-110VDC relay 70- 110% 2C/O Output contact 77V DC, TIME DELAY 0-10sec |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
94 | VOLTAGE MONITOR RELAY WITH PHASE SEQUENCE | BI01010001010000000000000515BI0100001206 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | VMR/Relay | MINILEC or equivalent | VCT D2 | AUX-230VAC-AC,3P3W 380-440V AC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
95 | Voltage monitoring relay NOMINAL | BI01010001010000000000000515BI0100001207 | 15 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | VMR/Relay | GIC or equivalent | S2 VMR 3 | 230VAC, 3PHASE, 4W, 415VAC, 2C/O OUTPUT CONTACT |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
96 | Voltage Monitoring Relay (Phase & Voltage Control) | BI01010001010000000000000515BI0100001208 | 50 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | VMR/Relay | L&T/GIC OR EQUIVALENT | SM 501 (GIC) (MG53BH) | 415VAC, 3PH-3W, 47-83 Hz, 1C/O |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
97 | FCBC O/P RELAY | BI01010001010000000000000515BI0100001209 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | VMR/Relay | PLA | RELAY SOCKET11 PIN SUITABLE RS11 ESZ-18 | RS11ESZ-18 |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
98 | FCBC O/P RELAY | BI01010001010000000000000515BI0100001210 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | VMR/Relay | PLA | RELAY PANEL MOUNTED TYPE | 110VDC 5A 3C/O |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
99 | FCBC BOOST RELAY | BI01010001010000000000000515BI0100001211 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | VMR/Relay | PLA | RELAY PANEL MOUNTED TYPE | 5A, 24VDC, 3C/O |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
100 | FCBC VOLTAGE SENSING RELAY | BI01010001010000000000000515BI0100001212 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | VMR/Relay | PLA | RELAY PANEL MOUNTED TYPE | 48V DC 5A 3C/O |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
101 | Relay (AIR BREAKER AUXILIARY CONTACTOR RELAY) (RELAY WITH BASE) | BI01010001010000000000000515BI0100001213 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | VMR/Relay | OMRON or equivalent | 3TH3040 0B 071738008 H | RU4S-D110, 4N0+4NC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
102 | MULTI FUNCTION METER CTR-1/5A,CL-1 WITH COMM.PORT RS-485NOMINAL VOLTAGE, 415V AC AUX VOLTAGE-230V AC/ 125-250V HAVING FOLLOWING PARAMETER V, A, F, PF, POWER, KWH, WITH TOD ETC. | BI01010001010000000000000515BI0100001214 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MFM | SCHNEIDER/ABB or equivalent | DIGITAL PM5300 | 600/5A, CL-1, 1/5A Nom 0.005-5(6)A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
103 | MULTIFUCTION METER WITH BUILTIN SELECTOR SWITCH, 230VAC AUX SUPPLY;96SQMM, RS-485PORTCL-1 | BI01010001010000000000000515BI0100001215 | 10 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MFM | NEPTUNE /DUCATI OR EQUIVALENT | DIGITAL 3P4W(M 9) 5A ,CL 1.0 | CTR-/5A,415VAC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
104 | DIGITAL KWH METER. | BI01010001010000000000000515BI0100001216 | 2 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | ENERGYMETER | SCHNEIDER or equivalent | EM6433 (SCHNEIDER) | DIGITAL, NOMINAL VOLTAGE 3Ø,4W, 415V. ACACCURACY CL-O.5. AUX.230VAC CTR—250/5A WITH RS485 COM.PORT, CTR-250/5A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
105 | DIGITAL KWH METER. | BI01010001010000000000000515BI0100001217 | 2 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | ENERGYMETER | SCHNEIDER or equivalent |  | DIGITAL,CTR-60/5A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
106 | DIGITAL KWH METER. | BI01010001010000000000000515BI0100001218 | 2 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | ENERGYMETER | SCHNEIDER or equivalent |  | DIGITAL,CTR-25/5A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
107 | ON DELAY TIMER | BI01010001010000000000000515BI0100001219 | 15 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | TIMER | L&T/GIC OR EQUIVALENT |  | 0-10SEC,110VDC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
108 | ON DELAY TIMER | BI01010001010000000000000515BI0100001220 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | TIMER | L&T/GIC OR EQUIVALENT | 2 AND TO | 230VAC 2C/O 24-240V AC/DC 50-60HZ |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
109 | ON DELAY TIMER | BI01010001010000000000000515BI0100001221 | 25 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | TIMER | L&T/GIC OR EQUIVALENT | 1C/O | 0-60SEC AUXILIARY VOLTAGE-230V AC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
110 | ON DELAY TIMER | BI01010001010000000000000515BI0100001222 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | TIMER | L&T/GIC OR EQUIVALENT | 2 AND TO | 240V AC, 5A ,0.1-10h |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
111 | HRC Fuse (Rectifier Fuse) | BI01010001010000000000000515BI0100001223 | 50 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | FUSE | BUSSMANN | Semiconductorfuse | 63A, 690VAC, 700AC/500DC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
112 | BS TYPE HRC Bolted/Closed slot | BI01010001010000000000000515BI0100001224 | 50 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | FUSE | BUSSMANN | FA20A | 20A,500V AC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
113 | Fuse Base BS Type HRC Bolted /OFF settag | BI01010001010000000000000515BI0100001225 | 50 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | FUSE | BUSSMANN | HA32 | 32A 500Vac |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
114 | BS TYPE HRC Bolted/Closed slot | BI01010001010000000000000515BI0100001226 | 50 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | FUSE | BUSSMANN | 25H07 | 25A,660/690VAC 80KA |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
115 | Control circuit fuse | BI01010001010000000000000515BI0100001227 | 50 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | FUSE | connectwell | CF4UL | terminals 2.5sqmm clip on type with 1A Glass fuse |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
116 | CONTROL FUSE WITH BASE | BI01010001010000000000000515BI0100001228 | 15 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | FUSE | L&T | Type- HD32 H | 32A, 415V |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
117 | CONTROL FUSE WITH BASE | BI01010001010000000000000515BI0100001229 | 10 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | FUSE | L&T | Type-HG, size F1 | 6A, 415V, 80kA |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
118 | FUSE LINK | BI01010001010000000000000515BI0100001230 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | FUSE | SIEMENS |  | 2A, 240VAC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
119 | CONTROL HBC FUSE | BI01010001010000000000000515BI0100001231 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | FUSE | L&T | Type-HG, size F1 | 2A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
120 | CONTROL HBC FUSE BASE | BI01010001010000000000000515BI0100001232 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | FUSE | L&T | Type-HG, size F1 | 16A, |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
121 | INPUT FUSES | BI01010001010000000000000515BI0100001233 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | FUSE | BUSSMANN | KA63 | BS TYPE HRC CLIP ON TAG 6A 550V AC 80kA |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
122 | RECTIFIER FUSES | BI01010001010000000000000515BI0100001234 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | FUSE | BUSSMANN | 110EET | SEMICONDUCTOR FUSE 110A 690VAC 200KA |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
123 | CAPACITOR FUSE | BI01010001010000000000000515BI0100001235 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | FUSE | BUSSMANN | KA63 | FUSE BASE BS TYPE HRC BOLTED/OFF SET TAG63A 500AC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
124 | Fuse for lighting | BI01010001010000000000000515BI0100001236 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | FUSE | L&T/ Indoasian or equivalent | FGN size-F1 gG (M17330) | 6A HRC, 500V AC, 80kA |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
125 | Motor fuse | BI01010001010000000000000515BI0100001237 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | FUSE | L&T/ Indoasian or equivalent | FGN size-F1 gG (M17330) | 10A HRC, 500V AC, 80kA |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
126 | LOCAL/REMOTE SWITCH | BI01010001010000000000000515BI0100001238 | 2 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | SWITCH | SALZER/ SWITRON/ KAYCEE or equivalent | NON LOCKABLE, | 250VAC/DC,16A AC/DC, |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
127 | BREAKER CONTROL SWITCH (TRIP NEUTRAL CLOSE) | BI01010001010000000000000515BI0100001239 | 2 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | SWITCH | SALZER/SWITRON/L&T or equivalent | NON LOCKABLE,SPRING RETURN TYPE SBC 25P 244R (SWITRON) | 3WAY CONTACTS 23A, 690V, 11kW |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
128 | MOTOR SWITCH | BI01010001010000000000000515BI0100001240 | 2 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | SWITCH | SWITRON or equivalent |  | 110V DC TWO POLE (TOGGLE) |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
129 | AUTO/MANUAL SELECTOR SWITCH | BI01010001010000000000000515BI0100001241 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | SWITCH | SALZER/L&T or equivalent | 6A-36-611 | 6A.2P,2W WITHOUT OFF |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
130 | COOLER AUTO/MANUAL SELECTOR | BI01010001010000000000000515BI0100001242 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | SWITCH | SALZER or equivalent |  | 16A,250VAC,2WAY,3P, |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
131 | DOOR SWITCH | BI01010001010000000000000515BI0100001243 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | SWITCH | SIEMENS or equivalent | 3SE3020-0A | 10A 240VAC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
132 | LOCAL/REMOTE | BI01010001010000000000000515BI0100001244 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | SWITCH | SALZER or equivalent | TP16/61039/B13 | 16A,250VAC,2WAY,3P, W/O OFF |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
133 | BREAKER COTROL SWITCH WITH KEY (SPRING RETURN) | BI01010001010000000000000515BI0100001245 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | SWITCH | L&T or equivalent |  | 2NO |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
134 | AUTO/MANUAL SELECTOR SWITCH | BI01010001010000000000000515BI0100001246 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | SWITCH | L&T or equivalent |  | 2 POLE 3WAY |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
135 | AUTO/MANUAL SELECTOR SWITCH | BI01010001010000000000000515BI0100001247 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | SWITCH | L&T or equivalent |  | 2P+2W+OFF |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
136 | AUTO/MAIN SELECTOR SWITCH | BI01010001010000000000000515BI0100001248 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | SWITCH | SALZER/L&T or equivalent | CAM | 6A.4P, 2W WITHOUT OFF |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
137 | LOCAL/REMOTE SELECTOR SWITCH | BI01010001010000000000000515BI0100001249 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | SWITCH | SWITRON/KAYCEE or equivalent |  | 25A 440V AC RATED 2 POSITION -3 POCKET (EACH POSITION 2 POLES) LOCKABLE |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
138 | VCB AUXILIARY SWITCH | BI01010001010000000000000515BI0100001250 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | SWITCH | MANI or equivalent |  | 8NO+8NC CONTACTS |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
139 | LOCAL/REMOTE SWITCH | BI01010001010000000000000515BI0100001251 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | SWITCH | SURAJ/JAINSON/SELECT/KAYCEE or equivalent |  | 10A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
140 | INTERLOCK SWITCH WITH MECH. LOCK | BI01010001010000000000000515BI0100001252 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | SWITCH | SURAJ/JAINSON/SELECT/KAYCEE or equivalent | SRP 145 | 16A,250V/10 A 440V AC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
141 | AUXIALRY SWITCH | BI01010001010000000000000515BI0100001253 | 8 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | SWITCH | POWER DRIVERS or EQIVALENT MAKE |  | 8NO+8NC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
142 | Charger ON/OFF switch- CAM TYPE Front Panel Mounting knob handle | BI01010001010000000000000515BI0100001254 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | SWITCH | SALZER/L&T or equivalent | S6-61001-B13TDYR | 1P ON/OFF 6A AC/DC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
143 | AC I/P voltage selector switch | BI01010001010000000000000515BI0100001255 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | SWITCH | SALZER/L&T or equivalent | S10-61312-B13TDYR | 4P,4WAY With OFF 10A AC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
144 | BREAKER CONTROL SWITCH | BI01010001010000000000000515BI0100001256 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | SWITCH | SALZER/L&T or equivalent | T-N-C | 16A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
145 | MINIATURE CIRCUIT BREAKER | BI01010001010000000000000515BI0100001257 | 10 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 240V AC SPN (10KA) | 6A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
146 | MINIATURE CIRCUIT BREAKER | BI01010001010000000000000515BI0100001258 | 10 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 240V AC SPN (10KA) | 10A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
147 | MINIATURE CIRCUIT BREAKER | BI01010001010000000000000515BI0100001259 | 10 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 240V AC SPN (10KA) | 16A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
148 | MINIATURE CIRCUIT BREAKER | BI01010001010000000000000515BI0100001260 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 240V AC SPN (10KA) | 25A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
149 | MINIATURE CIRCUIT BREAKER | BI01010001010000000000000515BI0100001261 | 10 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 440V AC SPN | 10A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
150 | MINIATURE CIRCUIT BREAKER | BI01010001010000000000000515BI0100001262 | 10 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 440V AC SPN | 16A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
151 | MINIATURE CIRCUIT BREAKER | BI01010001010000000000000515BI0100001263 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 440V AC SPN | 25A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
152 | MINIATURE CIRCUIT BREAKER | BI01010001010000000000000515BI0100001264 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 240V AC DP | 10A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
153 | MINIATURE CIRCUIT BREAKER | BI01010001010000000000000515BI0100001265 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 440V AC DP | 4A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
154 | MINIATURE CIRCUIT BREAKER | BI01010001010000000000000515BI0100001266 | 10 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 440V AC TPN | 4A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
155 | MINIATURE CIRCUIT BREAKER | BI01010001010000000000000515BI0100001267 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 440V AC TPN | 16A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
156 | MINIATURE CIRCUIT BREAKER | BI01010001010000000000000515BI0100001268 | 10 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 440V AC TPN | 32A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
157 | MINIATURE CIRCUIT BREAKER | BI01010001010000000000000515BI0100001269 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 440V AC TPN | 100A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
158 | MINIATURE CIRCUIT BREAKER | BI01010001010000000000000515BI0100001270 | 8 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 415V AC C-Curve (10KA) | 2A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
159 | MINIATURE CIRCUIT BREAKER | BI01010001010000000000000515BI0100001271 | 13 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 415V AC C-Curve (10KA) | 6A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
160 | MINIATURE CIRCUIT BREAKER | BI01010001010000000000000515BI0100001272 | 6 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 415V AC C-Curve (10KA) | 16A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
161 | MINIATURE CIRCUIT BREAKER | BI01010001010000000000000515BI0100001273 | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 415V AC C-Curve (10KA) | 20A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
162 | MINIATURE CIRCUIT BREAKER | BI01010001010000000000000515BI0100001274 | 10 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 110V DC DP | 6A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
163 | MINIATURE CIRCUIT BREAKER | BI01010001010000000000000515BI0100001275 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 110V DC DP | 10A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
164 | MINIATURE CIRCUIT BREAKER | BI01010001010000000000000515BI0100001276 | 6 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 110V DC DP | 16A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
165 | MINIATURE CIRCUIT BREAKER | BI01010001010000000000000515BI0100001277 | 8 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 110V DC DP | 25A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
166 | MINIATURE CIRCUIT BREAKER | BI01010001010000000000000515BI0100001278 | 13 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB | C&S/Schnieder/L&T/Siemens/ABB or equivalent | 110V DC DP | 63A |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
167 | Residual current circuit breaker with auxiliary contact 1C/O | BI01010001010000000000000515BI0100001279 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | RCCB | SIEMENS or equivalent | 5SM3-448-0RC (SIEMENS) | 100A, FP 100mA, 230-400V AC |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
168 | FOR PANEL SPACE HEATER | BI01010001010000000000000515BI0100001280 | 15 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB FOR GIS | SIEMENS | 5SL42027RC | 2A, 2P, 240V AC WITH 1N0+1NC AUX CONTACTS |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
169 | VCB CONTROL CIRCUIT & PLUG SOCKET | BI01010001010000000000000515BI0100001281 | 65 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB FOR GIS | SIEMENS | 5SY5206-7CC | 6A, 2P, 110V DC WITH 1N0+1NC AUX CONTACTS |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
170 | FOR PT SUPPLY | BI01010001010000000000000515BI0100001282 | 15 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB FOR GIS | SIEMENS | 5SL4402-7CC | 2A, 4P, 110V AC WITH 1N0+1NC AUX CONTACTS |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
171 | MOTOR CONTROL SUPPLY | BI01010001010000000000000515BI0100001283 | 15 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB FOR GIS | SIEMENS | 5SY5216-7CC | 16A, 2P, 110V AC WITH 2N0+2NC AUX CONTACTS |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
172 | CONTROL PROTECTION SUPPLY | BI01010001010000000000000515BI0100001284 | 15 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB FOR GIS | SIEMENS | 5SY5210-7CC | 10A, 2P, 110V AC WITH 2N0+2NC AUX CONTACTS |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
173 | PLUG SOCKET | BI01010001010000000000000515BI0100001285 | 15 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [35 empty] | MCB FOR GIS | SIEMENS | 5SL4206-7CC | 6A, 2P, 240V AC WITH 1N0+1NC AUX CONTACTS |  | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information